## Slide 1: Stents help patients with iliac obstructive PTS! Haven’t we already figured this out?
Kush R Desai, MD FSIR
Associate Professor of Radiology, Surgery, and Medicine
Northwestern University
Feinberg School of Medicine
Chicago, Illinois

## Slide 2: What my esteemed opponent may say…
The available data are limited
  Bias!
  Uncontrolled, unblinded, small sample size…
  Lack of consensus
The procedure is not without risks
  Vascular injury (arterial and venous)
  Stent migration, occlusion, stenosis, or other malfunction
  Acute DVT
  Nerve injury/parasthesias
Most patients do not avail themselves of best supportive therapy (and their providers often are not proactive)
  Poor stocking compliance
  Sproadic/absent wound care
  Limited compliance with venoactives

## Slide 3
Notes: But even with best supportive therapy, are we ok with this?

## Slide 4: Stents work!
How can restoration of flow/resolving obstruction be a BAD thing?
  Sure, no RCT data but what’s there is compelling

## Slide 5
982 limbs, 464 post-thrombotic limbs
Pain reduction
Reduction in severe swelling (3618%)
Ulcer healing (68%)
Neglen et al. JVS VL, 2007
Notes: And the data agrees!

## Slide 6: But stents work!
Procedure carry inherent risk, but it IS an occluded vein…
  Can we really make it much worse?
Patient testimonials:
  “That wound closed, and stayed closed, for the first time in years”
  “I can now walk my dog pain free”
  ”I’ve lost 30 lbs because I can actually exercise”

## Slide 7: Previously…
Off-label usage of stents
  Self expanding elgiloy or nitinol stents
Design was not disease-specific
  Difficult/required experience to place accurately
  Foreshortening
  Limited radial force/crush resistance
  Limited stent lengths (multiple stents needed)
  Trade-off for appropriate diameter
    Elgiloy stents  Unknown what final diameter it will be (based on deployed length)
    Nitinol stents  Only went up to 14 mm

## Slide 8: And we now have disease-specific tools!
On-label stents prospectively evaluated in IDE studies
Results; 2 year VIRTUS and VERNACULAR data
  Primary patency in PTS: 73.4% and 75.4% (respectively)
More stents on the way
Better crush resistance, reliability in deployment, predictable diameters, and longer stent lengths!

## Slide 10: Better deployment accuracy!

## Slide 14: Longer lengths…less stents needed!

## Slide 17: Improved crush resistance!

## Slide 22: Conclusion
Existing data is pretty good
  More to come with disease-specific devices!
Like anything, the procedure is relatively safe in experienced hands
  Needs to be studied further, but IDE trial data is encouraging
We all agree that we need to improve non-procedural care of these patients
  But do we need to stop providing them relief to improve this practice?